## Slide 1: Mzkit User Manual
BioNovoGene Bio-Pharm Technology Co., Ltd
Present By: BioDeep R&D Department
E-Mail: R&D@biodeep.cloud
BioNovoGene m/z Data Toolkit User Manual

## Slide 2: Introduction
The main function of Mzkit includes:
Raw Data Viewer
Metabolite Feature Annotation
Mulecular Networking
Open Source M/z Raw Data File Format Supports:
mzML, mzXML, imzML, mzPack, netCDF, HDF, Mgf

## Slide 3: LICENSE
Mzkit application and its source code is distributed under the MIT open source license
Source Code:
https://github.com/xieguigang/mzkit
Downloads:
http://www.biodeep.cn/downloads?lang=en-US

## Slide 4: Screenshots
c. 2D Scatter
d. MS-Imaging
a. Chromatography
b. Spectrum

## Slide 5: Main Screen
The main screen page of Mzkit application.
Data Explorer
Content Viewer
Content Properties
Status Toolstrip
Toolkit Ribbon

## Slide 6: MS-Imaging Viewer
Mzkit application and its source code is distributed under the MIT open source license
Source Code:
https://github.com/xieguigang/mzkit
Downloads:
http://www.biodeep.cn/downloads?lang=en-US

## Slide 7: Introduce MS-Imaging
Mass spectrometry imaging (MSI) is a technique used in mass spectrometry to visualize the spatial distribution of molecules, as biomarkers, metabolites, peptides or proteins by their molecular masses. By choosing a peak in the resulting spectra that corresponds to the compound of interest, the MS data is used to map its distribution across the sample. This results in pictures of the spatially resolved distribution of a compound pixel by pixel.
Römpp A, Spengler B. Mass spectrometry imaging with high resolution in mass and space.
Histochemistry and Cell Biology. 2013 Jun;139(6):759-783.
DOI: 10.1007/s00418-013-1097-6.

## Slide 8: imzML for MS-imaging
Mzkit Supports the imzML file format for view ms-imaging content.
[Main] Open
Select imzML format
Select ion for view image

## Slide 9: MS-imaging
MS-imaging in Mzkit
Ion Explorer
Select one ion or multiple ions at here.
Context menu on mouse right click for run image rendering.
Render Options
Tweaks of the MS-Imaging rendering options
Content Viewer
View MS-Imaging rendering image output

## Slide 10: View GC-MS Targetted
Mzkit application and its source code is distributed under the MIT open source license
Source Code:
https://github.com/xieguigang/mzkit
Downloads:
http://www.biodeep.cn/downloads?lang=en-US

## Slide 11: LICENSE
Mzkit application and its source code is distributed under the MIT open source license
Source Code:
https://github.com/xieguigang/mzkit
Downloads:
http://www.biodeep.cn/downloads?lang=en-US

## Slide 12: 感谢观看
苏州帕诺米克生物医药科技有限公司
Thank you for your attention
地址：江苏省苏州市工业园区新平街388号22幢2层
电话：0512-62959105
邮箱：info@bionovogene.com
网址：https://www.bionovogene.com www.biodeep.cn
科研服务公众号
健康服务公众号
科研服务订阅号