## Slide 1: Mzkit User Manual
BioNovoGene Bio-Pharm Technology Co., Ltd
Present By: BioDeep R&D Department
E-Mail: R&D@biodeep.cloud
BioNovoGene m/z Data Toolkit User Manual

## Slide 2: Introduction
The main function of Mzkit includes:
Raw Data Viewer
Metabolite Feature Annotation
Mulecular Networking
Open Source M/z Raw Data File Format Supports:
mzML, mzXML, imzML, mzPack, netCDF, HDF, Mgf

## Slide 3: LICENSE
Mzkit application and its source code is distributed under the MIT open source license
Source Code:
https://github.com/xieguigang/mzkit
Downloads:
http://www.biodeep.cn/downloads?lang=en-US

## Slide 4: Screenshots
c. 2D Scatter
d. MS-Imaging
a. Chromatography
b. Spectrum

## Slide 5: Main Screen
The main screen page of Mzkit application.
Data Explorer
Content Viewer
Content Properties
Status Toolstrip
Toolkit Ribbon

## Slide 6: MS-Imaging Viewer
Mzkit application and its source code is distributed under the MIT open source license
Source Code:
https://github.com/xieguigang/mzkit
Downloads:
http://www.biodeep.cn/downloads?lang=en-US

## Slide 7: Introduce MS-Imaging
Mass spectrometry imaging (MSI) is a technique used in mass spectrometry to visualize the spatial distribution of molecules, as biomarkers, metabolites, peptides or proteins by their molecular masses. By choosing a peak in the resulting spectra that corresponds to the compound of interest, the MS data is used to map its distribution across the sample. This results in pictures of the spatially resolved distribution of a compound pixel by pixel.
Römpp A, Spengler B. Mass spectrometry imaging with high resolution in mass and space.
Histochemistry and Cell Biology. 2013 Jun;139(6):759-783.
DOI: 10.1007/s00418-013-1097-6.

## Slide 8: imzML for MS-imaging
Mzkit Supports the imzML file format for view ms-imaging content.
[Main] Open
Select imzML format
Select ion for view image
Steps for view MS-imaging
in Mzkit:

## Slide 9: MS-imaging
MS-imaging in Mzkit
Ion Explorer
Select one ion or multiple ions at here.
Context menu on mouse right click for run image rendering.
Render Options
Tweaks of the MS-Imaging rendering options
Content Viewer
View MS-Imaging rendering image output

## Slide 10: View GC-MS Targeted
Mzkit application and its source code is distributed under the MIT open source license
Source Code:
https://github.com/xieguigang/mzkit
Downloads:
http://www.biodeep.cn/downloads?lang=en-US

## Slide 11: View GC-MS Targeted
The GC-MS targeted data in CDF file format is supported in Mzkit.
View GC-MS targeted data in Mzkit includes view TIC data and SIM ions for metabolite quantification.
[Main] Open
Select CDF format
View GC-MS data in Mzkit
Steps for view GC-MS targeted data
in Mzkit:

## Slide 12: View GC-MS Targeted
View SIM Ions Of GC-MS Targeted
Feature Explorer
Select one ion at here for view mass spectrum plot data.
Select TIC node for view TIC plot of the current GC-MS experiment
Peak Explorer
View Ion peak on TIC at here, and select rt range with mouse drag.
Content Viewer
View the mass spectrum of the selected ion peak

## Slide 13: View LC-MS/MS Targeted
Mzkit application and its source code is distributed under the MIT open source license
Source Code:
https://github.com/xieguigang/mzkit
Downloads:
http://www.biodeep.cn/downloads?lang=en-US

## Slide 14: View LC-MS/MS Targeted
MRM stands for Multiple Reaction Monitoring.
In MRM, a specific ion (precursor ion) is selected in Q1 (first stage MS) from among various ions ionized by the ionization probe, the ion is destructed (collision-induced dissociation) in the collision cell (Q2, collision chamber), and a specific ion is detected from among the destructed ions (product ions) in Q3 (second stage MS).
Multiple channels can be set in one measurement.
[Main] Open
Select mzML format
View LC-MS/MS data in Mzkit
Steps for view LC-MS/MS targeted data
in Mzkit:

## Slide 15: View LC-MS/MS Targeted
View LC-MS/MS Targeted MRM data in Mzkit
Feature Explorer
Select one ion pair at here for view extracted ion chromatography
plot data.
Select TIC node for view TIC plot of the current LC-MS/MS experiment
Content Viewer
View the mass spectrum of the selected ion peak

## Slide 16: 感谢观看
苏州帕诺米克生物医药科技有限公司
Thank you for your attention
地址：江苏省苏州市工业园区新平街388号22幢2层
电话：0512-62959105
邮箱：info@bionovogene.com
网址：https://www.bionovogene.com www.biodeep.cn
科研服务公众号
健康服务公众号
科研服务订阅号